## Slide 1: Sugar Hill Solar Array
Costs and Benefits of Installing a Solar Array to Provide Electricity for the Town’s Buildings
C.D. Martland
March 18, 2012
The array would be located on the south-facing hillside behind the Town Garage.

## Slide 2: Benefits of a Solar Array
Green Energy
Long Life, Low Maintenance
Reduced Payments for Electricity:
$4,000/year initially
More than $135,00 over 30 years
Renewable Energy Credits:
$1,300/year initially
More than $45,000 over 30 years
Lower taxes

## Slide 3
Chart: Estimated kwh-Related Costs for Electricity Used in Town Buildings & Streetlights, 2021-2051
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
Base Cost | 7884 | 8041.68 | 8202.5136 | 8366.5639 | 8533.8951 | 8704.5731 | 8878.6645 | 9056.2378 | 9237.3626 | 9422.1098 | 9610.552 | 9802.763 | 9998.8183 | 10198.7947 | 10402.7706 | 10610.826 | 10823.0425 | 11039.5033 | 11260.2934 | 11485.4993 | 11715.2093 | 11949.5135 | 12188.5037 | 12432.2738 | 12680.9193 | 12934.5377 | 13193.2284 | 13457.093 | 13726.2348
Cost with Array | 2430.9 | 2538.9326 | 2649.9384 | 2763.988 | 2881.1536 | 3001.5087 | 3125.129 | 3252.0912 | 3382.4743 | 3516.3586 | 3653.8265 | 3794.9619 | 3939.8508 | 4088.581 | 4241.2422 | 4397.9261 | 4558.7265 | 4723.739 | 4893.0616 | 5066.7942 | 5245.0392 | 5427.9008 | 5615.4858 | 5807.9034 | 6005.2648 | 6207.684 | 6415.2773 | 6628.1636 | 6846.4644

## Slide 4: Estimated Costs of a Solar Array
Installation Cost: ~$90,000 for a 94-panel array whose annual production of ~48,000 kwh would be approximately equal to the Town’s total demand for electricity.
Annual maintenance & insurance: ~$1,000/year
Total costs over project life of 30 years: ~$120,000

## Slide 5: Financing a Solar Array
The Town already has $7,500 in a Capital Reserve Fund for this project.
The Town can borrow at very low interest rates to cover additional installation costs of ~$82,500.
A loan for $82,500 at 1.9% interest could be paid off in five years at a cost of $17,500/year.

## Slide 6: Conclusion
A solar array can be installed behind the town garage that will provide power for all of the town buildings and streetlights.
Project benefits are predicted to exceed $180 thousand over 30 years.
Project costs are predicted to be less than $140 thousand over 30 years.
The project can be financed with a 5-year loan with an interest rate of 1.9%.